## Slide 1: Phoswich GATE Simulation Event Category Statistics
Bill Worstell
CapeSym
1/10/2022

## Slide 2
Communicates with Google Drive
Host Machine
Communicates with Google Drive
Communicates with Microsoft OneDrive
Virtual Machine

## Slide 3
Launching
GATE on
Virtual
Machine

## Slide 4
Executing
GATE
Macro

## Slide 5
Displaying
GATE
Visualization

## Slide 6
OutputTestPETModule.mac

## Slide 7
GATE Documentation

## Slide 8
GATE Imaging application

## Slide 9
GATE system definition

## Slide 10
GATE CylindricalPET system

## Slide 11
system (depth=0)-> cylindricalPET
rsector (depth=1) -> PETHead.
module (depth=2) -> PETModule
submodule (depth=3) ->
PETSubModule
crystal (depth=4) ->
PETCrystal
layer (depth=5) ->
CZC
BGO

## Slide 12
cylindricalPET is defined as a cylinder in the world, with a non zero inner radius.
rsector (depth=1) is defined as a box, and repeated with a ring repeater in cylindricalPET.
module (depth=2) is a box inside rsector. It is repeated by a cubicarray repeater with no X repetition (repeatNumberX = 1). This level is optional.
submodule (depth=3) is a box inside module. It is repeated by a cubicarray repeater with no X repetition (repeatNumberX = 1). This level is optional.
crystal (depth=4) is a box inside submodule. It is repeated by a cubicarray repeater with no X repetition (repeatNumberX = 1).
layer (depth=5) is a (or several, in the case of a phoswich system) radially arranged box(es) inside crystal. A repeater should not be used for layers, but then should build them one by one in the macro. layer must be set as a sensible detector with the macro command:
/attachCrystalSD
system (depth=0)-> cylindricalPET
rsector (depth=1) -> PETHead.
module (depth=2) -> PETModule
submodule (depth=3) ->
PETSubModule
crystal (depth=4) ->
PETCrystal
layer (depth=5) ->
CZC
BGO

## Slide 13
GATE sensitive detectors

## Slide 14
GATE crystalSD

## Slide 15
Selecting
Outputs
and Setting Run Length
Attaching
Sensitive
Detectors

## Slide 16
GATE Data output

## Slide 17
GATE ASCII and binary outputs

## Slide 18
GATE ASCII/binary output format

## Slide 19
Run
Event
Crystal
Layer
GATE Hits Output
Time (s)
Energy
(MeV)
Range
(mm)
X
Y
Z
Interaction Type

## Slide 20
Run
Event
Crystal
Layer
GATE Hits Output
Time (s)
Energy
(MeV)
Range
(mm)
X
Y
Z
Interaction Type

## Slide 21
GATE Singles Output
Run
Event
Source
Crystal
Time (s)
Energy
(MeV)
X
Y
Z
Interaction Type
SX
SY
SZ
Layer